## Slide 1: Atmospheric Composition Variable Standard Name Recommendations
Morgan Silverman, Gao Chen, Michael Shook, and many others

## Slide 2: Why Are Atmospheric Composition Variable Standard Names Needed?
In airborne field studies, variable names are given by the PIs to characterize the physical phenomena or to represent the quantity that is being measured (e.g., O3, H2O).
PIs often add additional information to their variable names to identify units and/or instruments used (e.g. O3_ppbv, DLH_H2O_ppmv).
Each data set needs its own identity (i.e. different variable names to distinguish between measurements)
  Particularly important for ASCII files (majority of in-situ airborne atmospheric composition data files)
Having a unique identity can create problems for data users to search across missions or understand the variables.
  Common to have multiple instruments measure mission critical variables in the same campaign (NO2_MixingRatio_LIF, NO2_MixingRatio).
  Across different campaigns, the same variable is repeatedly measured, but given different names.

## Slide 3: Why Are Atmospheric Composition Variable Standard Names Needed?

## Slide 4: Proposed Atmospheric Composition Variable Standard Names
Constructed using controlled vocabulary with four parts separated underscores: MeasurementCategory, CoreName, MeasurementMode, DescriptiveAttributes.
Standard Name = MeasurementCategory_CoreName_MeasurementMode_DescriptiveAttributes
This structure is similar to that of the Climate and Forecast Metadata Convention (CF) and the Geoscience Standard Names (GSN) ontology.
It is designed to support data discovery, distribution, and use, by accurately describing all variables from different measurements/instruments while using a consistent format for interoperability.
Notes: For data discovery, the MeasurementCategory and CoreName can be used to conduct a broad search to identify all measurements of the same physical quantity from different instruments and/or field studies. The DescriptiveAttributes can then be used to narrow down the search for data of interest. As discussed in later sections, the number and nature of DescriptiveAttributes are dependent on the type of measurement.

## Slide 5: Proposed Atmospheric Composition Variable Standard Names
Standard Name = MeasurementCategory_CoreName_MeasurementMode_DescriptiveAttributes
MeasurementCategory: Broadly groups all measurement standard names into 1 of 12 categories (Gas, AerComp, AerMP, AerOpt, CldComp, CldMP, CldOpt, Met, GasJValue, AquJValue, Platform, Rad) and provides uniqueness when using only CoreNames could be ambiguous. The number and types of DescriptiveAttributes are fixed for each measurement category
CoreName: Basic identification of the physical quantity being reported.
MeasurementMode: Refers to the sampling technique of the measurement, similar to EVDC’s attribute.
DescriptiveAttributes: Provides measurement and/or data reporting information relevant for data use, particularly when comparing results obtained with other methods of observations. The number and types of descriptive attributes are measurement-dependent.

## Slide 6: Trace Gas Example
Standard Name = MeasurementCategory_CoreName_MeasurementMode_DescriptiveAttributes
Gas_CoreName_MeasurementMode_MeasurementSpecificity_Reporting
Controlled Vocabulary:
  MeasurementMode = InSitu, VertColumn, SlantColumn, Profile
  MeasurementSpecificity = S (single species), M (multiple species), NA
  Reporting = DVMR, AVMR, DMF, AMF, ConcSTP, ConcAMB, CNDAMB, d13C, d14C, d2H, d18O
Example: In-situ measurement of CO2 gas reported in molar fraction with respect to dry air: Gas_CO2_InSitu_S_DMF
Example: In-situ measurement of total reactive nitrogen species reported in volumetric mixing ratio with respect to ambient air: Gas_NOy_InSitu_M_AVMR

## Slide 7: Trace Gas CoreName Example

## Slide 8: Aerosol Example – Microphysical Properties
Standard Name = MeasurementCategory_CoreName_MeasurementMode_DescriptiveAttributes
AerMP_CoreName_MeasurementMode_MeasurementRH_SizingTechnique_SizeRange_Reporting
Controlled Vocabulary:
  MeasurementMode = InSitu, VertColumn, SlantCol, Profl
  MeasurementRH = RHd, RHa, RHsp
  SizingTechnique = Mobility, Optical, Aerodynamic, Imaging, Kelvin, None
  SizeRange = Nucl, Accu, Coarse, Bulk, PM1, PMx, XtoY
  Reporting = STP, AMB, None
Example: In-situ measurement of aerosol number size distribution reported at reduced relative humidity derived from an aerodynamic sizing technique for coarse-mode aerosols at standard temperature and pressure: AerMP_NumSizeDist_InSitu_RHd_Aerodynamic_Coarse_STP

## Slide 9: Aerosol Example – Chemical Composition
Standard Name = MeasurementCategory_CoreName_MeasurementMode_DescriptiveAttributes
AerComp_CoreName_MeasurementMode_SizingTechnique_SizeRange_
Reporting
Controlled Vocabulary:
  MeasurementMode = InSitu, VertColumn, SlantCol, Profl
  SizingTechnique = Aerodynamic, VacuumAerodynamic, LII, None
  SizeRange = Nucl, Accu, Coarse, Bulk, PM1, PMx, XtoY
  Reporting = MassSTP, MassAMB, MassFrac, NumFrac, NumConcSTP, NumConcAMB
Example: In-situ measurement of organic aerosols derived using a vacuum aerodynamic technique for accumulation-mode aerosols reported as mass concentration at standard temperature and pressure: AerComp_OrganicAerosol_InSitu_VacuumAerodynamic_Accu_MassSTP
Example of an in-situ measurement of bulk sea salt particles reporting in number fraction: AerComp_Seasalt_InSitu_None_Bulk_NumFrac

## Slide 10: Aerosol Example – Optical Properties
Standard Name = MeasurementCategory_CoreName_MeasurementMode_DescriptiveAttributes
AerOpt_CoreName_MeasurementMode_WL_ MeasurementRH _SizeRange_Reporting
Controlled Vocabulary:
  MeasurementMode = InSitu, VertColumn, SlantCol, Profl
  WL = UV, Blue, Green, Red, IR, BluetoRed
  MeasurementRH = RHd, RHa, RHsp
  SizeRange = Nucl, Accu, Coarse, Bulk, PM1, PMx, XtoY
  Reporting = STP, AMB, None
Example: In-situ measurement of absorption measured at a red wavelength under reduced humidity conditions with a bulk aerosol size range reported in ambient conditions: AerOpt_Absorption_InSitu_red_RHd_Bulk_AMB

## Slide 11: Cloud Example – Microphysical Properties
Standard Name = MeasurementCategory_CoreName_MeasurementMode_DescriptiveAttributes
CldMP_CoreName_MeasurementMode_SizingTechnique_SizeRange_
Reporting
Controlled Vocabulary:
  MeasurementMode = InSitu, VertColumn, SlantCol, Profl
  SizingTechnique = Imagin, Optical, None
  SizeRange = Drop, Precip, Bulk, None
  Reporting = STP, AMB, None
Example: In-situ measurement of cloud particle number size distribution derived from an optical sizing technique measuring droplets being reported at ambient conditions: CldMicro_NumSizeDist_InSitu_Optical_Drop_AMB

## Slide 12: Cloud Example – Macrophysical Properties
Standard Name = MeasurementCategory_CoreName_MeasurementMode_DescriptiveAttributes
CldMacro_CoreName_MeasurementMode_None
Controlled Vocabulary:
  MeasurementMode = InSitu, VertColumn, SlantCol, Profl
Example: In-situ measurement of cloud top height: CldMacro_CTH_Profl_None

## Slide 13: Cloud Example – Chemical Composition
Standard Name = MeasurementCategory_CoreName_MeasurementMode_DescriptiveAttributes
CldComp_CoreName_MeasurementMode_SizingTechnique_SizeRange_
Reporting
Controlled Vocabulary:
  MeasurementMode = InSitu, VertColumn, SlantCol, Profl
  SizingTechnique = Imaging, Optical, None
  SizeRange = Drop, Precip, Bulk
  Reporting = MassSTP, MassAMB
Example: In-situ measurement of the mass concentration of sodium derived from a chemical technique measuring droplets reported at ambient conditions: CldComp_Sodium_InSitu_None_Bulk_MassAMB

## Slide 14: Cloud Example – Optical Properties
Standard Name = MeasurementCategory_CoreName_MeasurementMode_DescriptiveAttributes
CldOpt_CoreName_MeasurementMode_WL
Controlled Vocabulary:
  MeasurementMode = InSitu, VertColumn, SlantCol, Profl
  WL = UV, Blue, Green, Red, IR, BluetoRed
Example: In-situ measurement of cloud particle extinction coefficient measured in the blue wavelength: CldOpt_Extinction_InSitu_blue

## Slide 15: Meteorology Example
Standard Name = MeasurementCategory_CoreName_MeasurementMode_DescriptiveAttributes
Met_CoreName_MeasurementMode_None
Controlled Vocabulary:
  MeasurementMode = InSitu, VertColumn, SlantCol, Profile
Example: In-situ measurement of static air temperature: Met_StaticTemperature_InSitu_None

## Slide 16: Platform/Navigation Example
Standard Name = MeasurementCategory_CoreName_MeasurementMode_DescriptiveAttributes
Platform_CoreName_MeasurementMode_None
Controlled Vocabulary:
  MeasurementMode = InSitu
Example: In-situ measurement for aircraft Yaw angle: Platform_YawAngle_InSitu_None

## Slide 17: Photolysis Rate Example
Standard Name = MeasurementCategory_CoreName_MeasurementMode_DescriptiveAttributes
MeasurementCategory_CoreName_MeasurementMode_MeasurementDirection_SpectralCoverage_Products
Controlled Vocabulary:
  MeasurementCategory = GasJvalue, AquJvalue
  MeasurementMode = InSitu
  MeasurementDirection = Downwelling, Upwelling, or Total
  SpectralCoverage = Partial, Full
Example: Photolysis rate coefficient for reaction NO2 + hν → NO + O(3P) derived from total actinic flux measurement: GasJvalue_jNO2_InSitu_Total_Full_NO2-O3P
Example: Photolysis rate coefficient for reaction CHBr3 + hν → products derived from downwelling actinic flux measurement: GasJvalue_jCHBr3_InSitu_Downwelling_Full_NoProductsSpecified

## Slide 18: Radiation Example
Standard Name = MeasurementCategory_CoreName_MeasurementMode_DescriptiveAttributes
Rad_CoreName_MeasurementMode_WLMode
Controlled Vocabulary:
  MeasurementMode = InSitu
  WLMode = BB (broadband), SP (spectral), SC (specified channels)
Example: In-situ measurement of Downwelling Diffuse Broadband Solar Irradiance between 0.2 and 3.6 micron: Rad_IrradianceDownwellingDiffuse_InSitu_BB

## Slide 19: CAMP2Ex ICARTT File – Trace Gas

## Slide 20: CAMP2Ex ICARTT File – Aerosol Composition

## Slide 21: Maintenance Plan
Stay relevant to the measurement and user communities
  Update/modify CoreNames and DescriptiveAttributes after each major field study
  Connect to modeling community, e.g., AeroCom, HTAP, and CCMP
  Create translation to CF and other standards
Easy but controlled process for new CoreNames
  Collect new names from data providers
  Review through literature search and peer comments
Keep close working relation with GCMD